## Copyright
COMMERCIAL IN CONFIDENCE
Copyright
This work is licensed under the Creative Commons Attribution-NoDerivatives 4.0 International License. Terms for use can be found at https://www.customerservice.nsw.gov.au/copyright and the applicable license for use is at http://creativecommons.org/licenses/by-nd/4.0/.
© State of New South Wales through Department of Customer Service, 2020.
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
FIXED DATA
REQUIREMENTS

## Instructions
COMMERCIAL IN CONFIDENCE
INSTRUCTIONS
| Name of Tenderer | <Please insert Tenderer Name>
Information Required
| Response Details Required | Tenderers are required to indicate compliance with each requirement and describe how their service offerings meets the requirement. Tenderers are also expected to indicate which compliant or partially compliant requirements are priced in to the price book in the spreadsheet.
| Worksheet Title | Description
| INSTRUCTIONS | Contains the outline of the content within this document, including the definition of cells that require Tenderer input.
| TPA RELEASE VERSION | Summary of the release versions of the TPA Price Book.
| GENERAL | Contains Requirements that apply to all Services within this Service Tower.
| POINT-TO-POINT | Contains Requirements that apply to Point-to-Point services as defined in the Fixed Data Service Tower.
| PRIVATE FIXED WAN | Contains Requirements that apply toPrivate Fixed WAN services as defined in the Fixed Data Service Tower.
| Table Header |  | Table Header: For information purposes - do not edit
| Table Sub Header 1 |  | Table Sub Header 1: For information purposes - do not edit
| Table Sub Header 2 |  | Table Sub Header 2: For information purposes - do not edit
| Field Type 1 |  | ID Header 1: For information purposes - do not edit
| Field Type 2 |  | ID Header 2: Contains mandatory service type information - do not edit
| Tenderer Response Field |  | Tenderer Response: For Tenderers to enter their responses - editable
Base Services
| B | Base To be included as part of the base service offering.
| O | Optional Not necessary as part of the base service, but represents an optional feature or function that Eligible Customers may have a need for.
Priority
| M | Mandatory Must be provided for Base Products. Must be provided for Product Options if the respective Option is provided by a Tenderer.
| D | Desirable Eligible Customers have indicated that this requirement is integral to their business operations and therefore would materially influence their selection of a Tenderer.
| O | Optional Eligible Customers have indicated that they are interested in this requirement, however, for the majority of Eligible Customers it would not materially influence their selection of a Tenderer.
Compliance
| C | Compliant Tenderers must describe how this requirement is met.
| P | Partially Compliant Tenderers must describe how this requirement is met and any mitigating capability offered and/or future plans to become fully compliant.
| N | Non-Compliant Tenderers should describe any mitigating capability offered and/or future plans to become compliant.
Priced In
| Yes | This requirement has been priced in to the relevant service in the Price Book.
| No | This requirement has not been priced in to the relevant service in the Price Book.
| Yes / No | Tenderers to advise whether this requirement has been priced in to the relevant service in the Price Book.
FIXED DATA
REQUIREMENTS

## General
COMMERCIAL IN CONFIDENCE
General - Applies to all
Reference | Requirement Type | Requirement | Base / Option (B/O) | Priority (M/D/O) | Priced In | Compliance (C/P/N) | Compliance Notes
General
FD-G-1 | ISM | All services are compliant with OFS-2015-05-NSW Government Digital Information Security Policy (http://arp.nsw.gov.au/ofs-2015-05-nsw-government-digital-information-security-policy) | B | M |  |  |  | BM
FD-G-2 | Report (Provisioning) | At the handing over of all services, a provisioning report must be provided which includes, but is not limited to the scope outlined in the relevant layer specific requirements. | B | M |  |  |  | BM
FD-G-3 | ISM | Storage of information provided by the Tenderer must be located within Australia. | B | M |  |  |  | BM
FD-G-4 | ISM | Storage of information provided by the Tenderer shall preferably be located within NSW. | B | D |  |  |  | BD
FD-G-5 | ISM | Services being provided that utilise storage services outside NSW shall meet the Customer's obligations to legislated requirements. | B | M |  |  |  | BM
FD-G-6 | Management | Provide full proactive management of the Service and interconnection points, including monitoring and pro-active response for all metrics outlined in the relevant layer specific requirements. | B | M |  |  |  | BM
FD-G-7 | Performance | Where performance SLAs are provided, the performance testing demarcations for: - point-to-point services is between the active demarcation points. - multi-point services is between the Customer site active termination point and the Data Centre(s), or other common location, active termination points. - mesh services is between any two locations participating in the mesh. - internet gateway services is between the Customer site active termination point and the Tenderer's gateway to the Internet | B | M |  |  |  | BM
FD-G-8 | Configuration | Documentation relating to the configuration of the service must be maintained and made available to the Customer or the Contract Authority upon request. | B | M |  |  |  | BM
FD-G-9 | Logging | Provide logging information data stream for the Service to support a Customer or Third Party SIEM. | O | D |  |  |  | OD
FD-G-10 | CoS and QoS | Where QoS and CoS are referenced the following table must be used to define the required CoS (L2) and DSCP (L3) markings. These markings must be maintained end-to-end. The solution must be able to mark traffic based on agreed policies including IP address, port number and application marking. | B | M |  |  |  | BM
FD-G-11 | CoS and QoS | Where QoS and CoS are referenced the following table must be used to define the required minimum queue characteristics. The percentage bandwidth allocation is indicative only; Customer requirements may differ. | B | M |  |  |  | BM
FIXED DATA
REQUIREMENTS

## Point-to-Point
COMMERCIAL IN CONFIDENCE
Point-to-Point Connectivity |  |  |  |  | SOLUTION #1 |  |  | SOLUTION #2 |  |  | SOLUTION #3
Reference | Requirement Type | Requirement | Base / Option (B/O) | Priority (M/D/O) | Priced In | Compliance (C/P/N) | Compliance Notes | Priced In | Compliance (C/P/N) | Compliance Notes | Priced In | Compliance (C/P/N) | Compliance Notes
Passive Point-to-Point Connectivity
FD-UP2P-1 | Availability | Services are able to offer availability of ≥99.9% | B | M
FD-UP2P-2 | Distance | Services are to be offered between the following zones: - Metro to Metro - Metro - Regional - Regional to Regional - Remote to Remote | B | M
FD-UP2P-3 | Performance | Services are measured and reported against the following metrics at the relevant wavelength(s) e.g. 1310nm or 1550nm: - Fibre length - Fibre attenuation co-efficient (dB/km) | B | M
FD-UP2P-4 | Performance | Services are measured and reported against the following metrics at the relevant wavelength(s) e.g. 1310nm or 1550nm: - Maximum average splice loss - Number of splices - Number of through-connectors - Maximum insertion loss - Maximum link loss | O | D
FD-UP2P-5 | Diversity | Support for a secondary service that is comprised of all or some for the following: - Separate building entry/exit points - Interface redundancy - Separate conduits in building | O | D
FD-UP2P-6 | Redundancy | Provide sufficient end to end cores to sustain complete core replacement due to failure | O | D
FD-UP2P-7 | Performance | Ensure that the most efficient path and least number of connections are used for the circuit. | O | D
FD-UP2P-8 | Performance | Support for bandwidths of 1Gbps, 10Gbps, 40Gbps, or 100Gbps. | B | M
FD-UP2P-9 | Performance | Support for bandwidths greater that 100Gbps. | O | D
FD-UP2P-10 | Interconnect | Support for the following physical connectors: Optical - SC - LC | B | M
Active Point-to-Point Connectivity (CWDM/DWDM)
FD-MP2P-L1-1 | Availability | Services are able to offer availability of ≥99.9% | B | M
FD-MP2P-L1-2 | Bandwidth | All WDM services must be able to offer the following range of bandwidth tiers: - 1Gbps - 5Gbps - 10Gbps - 40Gbps - 100Gbps | B | M
FD-MP2P-L1-3 | Distance | Services are to be offered between the following zones: - Metro to Metro - Metro - Regional - Regional to Regional - Remote to Remote | B | M
FD-MP2P-L1-4 | Diversity (redundancy) | Support for a secondary service that is comprised of all or some for the following: - Separate building entry/exit points. - CPE redundancy - PE redundancy - Interface redundancy - Separate conduits in building - Automated failover capability | O | D
FD-MP2P-L1-5 | Interconnect | Support for the following physical connectors: Optical - SC - LC | B | M
FD-MP2P-L1-6 | Interconnect | Support for the following interface speeds: - 1000Mbps/1Gbps - 10Gbps - 100Gbps | B | M
FD-MP2P-L1-7 | Interconnect | Provide a range of interconnection options: - single interface - multiple (aggregated) - multiple (standby) | B | M
FD-MP2P-L1-8 | Performance | Services are measured and reported against the following metrics at the relevant wavelength(s) e.g. 1310nm or 1550nm: - Fibre length - Fibre attenuation co-efficient (dB/km) | B | M
FD-MP2P-L1-9 | Performance | Services are measured and reported against the following metrics at the relevant wavelength(s) e.g. 1310nm or 1550nm: - Maximum average splice loss - Number of splices - Number of through-connectors - Maximum insertion loss - Maximum link loss | O | D
FD-MP2P-L1-10 | L1 Technologies | Provide support for Layer 1 technologies: - CWDM - DWDM | B | M
FD-MP2P-L1-11 | Technologies | Provide support for Fibre Channel | B | M
FD-MP2P-L1-12 | Bandwidth | All Fibre Channel services must be able to offer the following range of bandwidth tiers: - 1Gbps - 2Gbps - 4Gbps - 8Gbps - 16Gbps - 32Gbps - 128Gbps | B | M
FD-MP2P-L1-13 | Hardware | Provide a site CPE device to connect directly to the Customer LAN devices | B | M
FIXED DATA
REQUIREMENTS

## Private Fixed Wan
COMMERCIAL IN CONFIDENCE
Private Fixed Wan |  |  |  |  | SOLUTION #1 |  |  | SOLUTION #2 |  |  | SOLUTION #3
Reference | Requirement Type | Requirement | Base / Option (B/O) | Priority (M/D/O) | Priced In | Compliance (C/P/N) | Compliance Notes | Priced In | Compliance (C/P/N) | Compliance Notes | Priced In | Compliance (C/P/N) | Compliance Notes
Managed Layer 3 VPN
FD-MVPN-L3-1 | Availability | Services offer the following range of availability SLAs: 99.999% 99.95% 99.9% 99.9% Best Effort | B | M
FD-MVPN-L3-2 | Bandwidth | Services offer the following range of guaranteed bandwidth tiers: - 1, 2, 3, 5, 7.5, 10 Mbps - 20, 30, 50, 75, 100 Mbps - 200, 300, 500, 750, 1000 Mbps - 2, 3, 5, 7.5, 10 Gbps - 20, 30, 50, 75, 100 Gbps | B | M
FD-MVPN-L3-3 | Bandwidth | Ensure that the bandwidth provided allows a single session to burst to the maximum bandwidth, i.e. use of aggregation technology to provide the bandwidth across the Tenderer network is not expected. | B | M
FD-MVPN-L3-4 | Latency | Services offer the following range of maximum one-way latency tiers, mapped to the 6 classes of service that comprise each service: Class 6 - ≤5ms Class 5 - ≤10ms Class 4 - ≤20ms Class 3 - ≤30ms Class 2 - ≤50ms Class 1 - Best Effort | B | M
FD-MVPN-L3-5 | Jitter | Services offer the following range of maximum one-way latency variation tiers, mapped to the 6 classes of service that comprise each service: Class 6 - ≤2ms Class 5 - ≤5ms Class 4 - ≤10ms Class 3 - ≤20ms Class 2 - ≤30ms Class 1 - Best Effort | B | M
FD-MVPN-L3-6 | Packet loss | Service are able to offer the following range of maximum packet loss tiers, mapped to the 6 classes of service that comprise each service: Class 6 - ≤0.01% Class 5, 4 - ≤0.1% Class 3 - ≤1% Class 2, 1 - Best Effort | B | M
FD-MVPN-L3-7 | Diversity (redundancy) | Support for Customers to optionally request diversity/redundancy/resiliency built into the service. Options include, but are not limited to: - Separate building entry/exit points - CPE redundancy - PE redundancy - Interface redundancy - Separate conduits in building - Automated failover capability | O | D
FD-MVPN-L3-8 | Interconnect | Support for the following physical connectors: Copper - RJ45 - RJ12 Optical (SMF and MMF) - SC - LC | B | M
FD-MVPN-L3-9 | Interconnect | Support for the following Ethernet interface types: xBASE-T xBASE-SX xBASE-LX xBASE-LH xBASE-EX xBASE-ZX xBASE-EZX | B | M
FD-MVPN-L3-10 | Interconnect | Support for the following interface speeds: - 10Mbps - 100Mbps - 1000Mbps/1Gbps - 10Gbps - 100Gbps | B | M
FD-MVPN-L3-11 | Interconnect | Support for auto-negotiation or hard coded speed and duplex. | B | M
FD-MVPN-L3-12 | Interconnect | Provide a range of interconnection options: - single interface - multiple (aggregated) - multiple (standby) | B | M
FD-MVPN-L3-13 | QoS | Support for Quality of Service is required for multiple traffic types as defined in FDG-12 and FDG-13. | B | M
FD-MVPN-L3-14 | Performance | Services are measured and reported against the following metrics: - Availability - Bandwidth - Latency - Jitter - Packet loss | B | M
FD-MVPN-L3-15 | L2 Protocols | Support for the following L2 protocols where applicable: - 802.3ad (802.3AX) - mLACP - 802.1Q - 802.1ad - CoS | B | M
FD-MVPN-L3-16 | L3 Protocols | Support for the following L3 protocols where applicable: - IPv4 (RFC 791) and IPv6 (RFC 2460), dual stack where necessary - QoS | B | M
FD-MVPN-L3-17 | L3 Protocols | Support for the following routing protocols where applicable: - default routing - RIP - OSPF - BGP - EIGRP | B | M
FD-MVPN-L3-18 | MTU | Support for jumbo frames with an MTU of 9000 | B | M
FD-MVPN-L3-19 | MTU | Support for frames with an MTU of 1500 | O | D
FD-MVPN-L3-20 | L3 Technologies | Provide support for Layer 3 technologies: - VPRN - VRF | O | D
FD-MVPN-L3-21 | Hardware | Provide a site CPE device to connect directly to the Customer LAN devices | B | M
FD-MVPN-L3-22 | L3 Protocols | Provide DHCP for IPv4 public addressing at Customer LAN sites | B | M
FD-MVPN-L3-23 | L3 Protocols | Provide DHCP for IPv6 public addressing at Customer LAN sites | O | D
FD-MVPN-L3-24 | L2 Protocols | Provide support for at least 4 VLANs at the site | O | D
FD-MVPN-L3-25 | L3 Protocols | Provide IP addressing for link nets (i.e. the connection from the CPE to the Tenderer network), where needed | O | D
FD-MVPN-L3-26 | L3 Protocols | Provide support for self managed private/public IP space for links and Customer LANs for both IPv4 and IPv6 | O | D
FD-MVPN-L3-27 | L3 Protocols | Provide IP address portability (i.e. the maintenance of a site’s IP range when that sites change providers) to allow for the governance of the IP Address management service. | O | D
FD-MVPN-L3-28 | L3 Protocols | Providers support for Multicast including providing Designated Routers and Rendezvous Points across the Service | O | D
FD-MVPN-L3-29 | Performance | Provide traffic engineering where requested, e.g. policing for some applications | O | D
FD-MVPN-L3-30 | Reporting | Provide network traffic analysis to assist with troubleshooting application and Customer data paths | B | M
FD-MVPN-L3-31 | Interconnect NNI | Provide a Network-to-Network Interfaces (NNI) to allow full interoperability between themselves and any other Network Tenderer including routing updates, QoS support, and performance guarantees. Traffic that traverses the interconnect must be transparent to the end user and application. | O | D
FD-MVPN-L3-32 | Aggregation | Provide for Access Circuit aggregation and load balancing, i.e. the ability to connect additional circuits and utilise the additional circuits based on a range of factors, such as the traffic type. | O | D
FD-MVPN-L3-33 | Internet offload | Provide Internet offload, i.e. the ability to send Internet destined traffic to the Internet directly from the site either across a directly connected Internet connection or across the WAN to an Internet gateway. | O | D
FD-MVPN-L3-34 | Topologies | Where more than one Service is procured offer support for Multi-point connectivity. Supported topologies must be: - Hub and spoke - Mesh | O | D
FD-MVPN-L3-35 | Performance | Provide options to improve performance over circuits e.g. WAN optimisation | O | D
FD-MVPN-L3-36 | Security | Where connectivity is between two sites, provide end-to-end encryption for the service with a minimum of AES 256 bit. | O | D
Support for a range of SD-WAN functionality including:
FD-MVPN-L3-37 | SD-WAN | a) Hybrid WAN, with provision of various connectivity types (fixed internet, wireless internet and MPLS VPN connectivity) to the edge (i.e. the customer site). | O | D
FD-MVPN-L3-38 | SD-WAN | b) Ability to interconnect and integate third party provided connectivity to the managed CPE. | O | D
FD-MVPN-L3-39 | SD-WAN | c) Ability to distribute traffic across different access links based on pre-defined policy. | O | D
FD-MVPN-L3-40 | SD-WAN | d) Customer facing portal enabling customers to program edge CPE according to Tenderer's offering. | O | D
FD-MVPN-L3-41 | SD-WAN | e) Support for virtual functions, run in software at the edge CPE. | O | D
FD-MVPN-L3-42 | SD-WAN | f) Rapid deployment (zero touch provisioning) by the Tenderer. | O | D
FD-MVPN-L3-43 | SD-WAN | g) Scalability to over 1000 sites | O | D
FD-MVPN-L3-44 | Access Physical Layer | Able to provide services utilising an access physical layer of satellite | O | D
FD-MVPN-L3-45 | Access Physical Layer | Able to provide services utilising an access physical layer of fixed wireless | O | D
FD-MVPN-L3-46 | Access Physical Layer | Able to provide services utilising an access physical layer of copper | O | D
FD-MVPN-L3-47 | Access Physical Layer | Able to provide services utilising an access physical layer of fibre | B | M
FD-MVPN-L3-48 | Access Provider | Able to provide services utilising access provided by supplier owned infrastructure and services | B | M
FD-MVPN-L3-49 | Access Provider | Able to provide services utilising access provided by the NBN | B | M
FD-MVPN-L3-50 | Access Provider | Able to provide services utilising access provided by a 3rd party | O | D
FD-MVPN-L3-51 | NBN Access Traffic Class | When providing a service that utilises NBN TC4 access services, align to NBN's performance guarantees for that Traffic Class. | B | M
FD-MVPN-L3-52 | NBN Access Traffic Class | When providing a service that utilises NBN TC2 access services, align to NBN's performance guarantees for that Traffic Class. | B | M
FD-MVPN-L3-54 | NBN Access Traffic Class | When providing a service that utilises NBN Enterprise Ethernet access services, align to NBN's performance guarantees for that Traffic Class. | B | M
Low-Cost Managed Layer 3 VPN
FD-LCMVPN-L3-1 | Availability | Services are able to offer the following range of availability SLAs: Tier 1 - 99.9% Tier 2 - 99.2% Tier 3 - Best Effort | B | M
FD-LCMVPN-L3-2 | Bandwidth | Services are able to offer the following range of bandwidth tiers (Mbps): - I-T1 = 1/1, 2/2, 5/5 - I-T2 = 5/5, 10/10, 20/20, 40/40, 50/50, 100/100 - I-T3 = 12/1, 25/5, 50/20, 100/40, 250/100, 500/200, 1000/400 | B | M
FD-LCMVPN-L3-3 | Bandwidth | Ensure that the bandwidth provided allows a single session to burst to the maximum bandwidth, i.e. use of aggregation technology to provide the bandwidth across the Tenderer network is not expected. | B | M
FD-LCMVPN-L3-4 | Latency | All services must offer the following range of maximum one-way latency tiers: Tier 1 - ≤6ms Tier 2 - ≤25ms Tier 3 - Best Effort | B | M
FD-LCMVPN-L3-5 | Jitter | All services must offer the following range of maximum one-way latency variation tiers: Tier 1 - ≤3ms Tier 2 - ≤25ms Tier 3 - Best Effort | B | M
FD-LCMVPN-L3-6 | Packet loss | All services must be able to the following range of maximum packet loss tiers: Tier 1 - ≤0.01% Tier 2 - ≤0.04% Tier 3 - Best Effort | B | M
FD-LCMVPN-L3-7 | Diversity (redundancy) | Support for a range of diverse options for services that are comprised of all or some for the following: - Separate building entry/exit points - Local loop connections terminate in separate Exchanges - CPE redundancy - PE redundancy - Interface redundancy - Separate conduits in building - Automated failover capability | O | D
FD-LCMVPN-L3-8 | Interconnect | Support for the following physical connectors: Copper - RJ45 - RJ12 Optical (SMF and MMF) - SC - LC | B | M
FD-LCMVPN-L3-9 | Interconnect | Support for the following Ethernet interface types: xBASE-T xBASE-SX xBASE-LX xBASE-LH xBASE-EX xBASE-ZX xBASE-EZX | B | M
FD-LCMVPN-L3-10 | Interconnect | Support for the following interface speeds: - 10Mbps - 100Mbps - 1000Mbps/1Gbps - 10Gbps | B | M
FD-LCMVPN-L3-11 | Interconnect | Support for the following physical interfaces: Copper - RJ45 - RJ12 Optical (single-mode) - SC - LC | B | M
FD-LCMVPN-L3-12 | Interconnect | Support for auto-negotiation or hard coded speed and duplex. | B | M
FD-LCMVPN-L3-13 | Interconnect | Provide a range of interconnection options: - single interface - multiple (aggregated) - multiple (standby) | B | M
FD-LCMVPN-L3-14 | QoS | Support for Quality of Service is required for multiple traffic types as defined in FDG-12 and FDG-13. | B | M
FD-LCMVPN-L3-15 | Performance | Services are measured and reported against the following metrics: - Availability - Bandwidth - Latency - Jitter - Packet loss | B | M
FD-LCMVPN-L3-16 | L2 Protocols | Support for the following L2 protocols where applicable: - 802.3ad (802.3AX) - mLACP - 802.1Q - 802.1ad - CoS | B | M
FD-LCMVPN-L3-17 | L3 Protocols | Support for the following L3 protocols where applicable: - IPv4 (RFC 791) and IPv6 (RFC 2460), dual stack where necessary - QoS - VRF | B | M
FD-LCMVPN-L3-18 | L3 Protocols | Support for the following routing protocols where applicable: - default routing - RIP - OSPF - BGP - EIGRP | B | M
FD-LCMVPN-L3-19 | MTU | Support for jumbo frames with an MTU of 9000 | B | M
FD-LCMVPN-L3-20 | MTU | Support for frames with an MTU of 1500 | O | D
FD-LCMVPN-L3-21 | L2 Technologies | Provide support for Layer 2 Extension technologies: - VPLS - VPWS - DCI - A-VPLS - EVI - MDC | O | D
FD-LCMVPN-L3-22 | L3 Technologies | Provide support for Layer 3 technologies: - VPRN - VRF | O | D
FD-LCMVPN-L3-23 | Hardware | Provide a site CPE device to connect directly to the Customer LAN devices | B | M
FD-LCMVPN-L3-24 | L3 Protocols | Provide DHCP for IPv4 public addressing at Customer LAN sites | B | M
FD-LCMVPN-L3-25 | L3 Protocols | Provide DHCP for IPv6 public addressing at Customer LAN sites | O | D
FD-LCMVPN-L3-26 | L2 Protocols | Provide support for at least 4 VLANs at the site (C-VLAN) | B | M
FD-LCMVPN-L3-27 | L3 Protocols | Provide IP addressing for link nets (i.e. the connection from the CPE to the Tenderer network), where needed | B | M
FD-LCMVPN-L3-28 | L3 Protocols | Provide support for self managed private/public IP space for links and Customer LANs for both IPv4 and IPv6 | O | D
FD-LCMVPN-L3-29 | L3 Protocols | Providers support for Multicast including providing Designated Routers and Rendezvous Points across the Service | O | D
FD-LCMVPN-L3-30 |  | Provide traffic engineering where requested, e.g. policing for some applications | O | D
FD-LCMVPN-L3-31 | Reporting | Provide network traffic analysis to assist with troubleshooting application and Customer data paths | B | M
FD-LCMVPN-L3-32 | Interconnect NNI | Provide a Network-to-Network Interfaces (NNI) to allow full interoperability between themselves and any other Network Tenderer including routing updates, QoS support, and performance guarantees. Traffic that traverses the interconnect must be transparent to the end user and application. | O | D
FD-LCMVPN-L3-33 | Aggregation | Provide for Access Circuit aggregation and load balancing, i.e. the ability to connect additional circuits and utilise the additional circuits based on a range of factors, such as the traffic type. | O | D
FD-LCMVPN-L3-34 | Internet offload | Provide Internet offload, i.e. the ability to send Internet destined traffic to the Internet directly from the site either across a directly connected Internet connection or across the WAN to an Internet gateway. | O | D
FD-LCMVPN-L3-35 | Topologies | Where more than one Service is procured offer support for Multi-point connectivity. Supported topologies must be: - Hub and spoke - Mesh | O | D
FD-LCMVPN-L3-36 | Performance | Provide options to improve performance over circuits e.g. WAN optimisation | O | D
FD-LCMVPN-L3-37 | Security | Where connectivity is between two sites, provide end-to-end encryption for the service with a minimum of AES 256 bit. | B | M
Support for a range of SD-WAN functionality including:
FD-LCMVPN-L3-38 | SD-WAN | a) Hybrid WAN, with provision of various connectivity types (fixed internet, wireless internet and MPLS VPN connectivity) to the edge (i.e. the customer site). | O | D
FD-LCMVPN-L3-39 | SD-WAN | b) Ability to interconnect and integate third party provided connectivity to the managed CPE. | O | D
FD-LCMVPN-L3-40 | SD-WAN | c) Ability to distribute traffic across different access links based on pre-defined policy. | O | D
FD-LCMVPN-L3-41 | SD-WAN | d) Customer facing portal enabling customers to program edge CPE according to Tenderer's offering. | O | D
FD-LCMVPN-L3-42 | SD-WAN | e) Support for virtual functions, run in software at the edge CPE. | O | D
FD-LCMVPN-L3-43 | SD-WAN | f) Rapid deployment (zero touch provisioning) by the Tenderer. | O | D
FD-LCMVPN-L3-44 | SD-WAN | g) Scalability to over 1000 sites | O | D
FD-LCMVPN-L3-45 | Access Physical Layer | Able to provide services utilising an access physical layer of satellite | O | D
FD-LCMVPN-L3-46 | Access Physical Layer | Able to provide services utilising an access physical layer of fixed wireless | O | D
FD-LCMVPN-L3-47 | Access Physical Layer | Able to provide services utilising an access physical layer of copper | O | D
FD-LCMVPN-L3-48 | Access Physical Layer | Able to provide services utilising an access physical layer of fibre | B | M
FD-LCMVPN-L3-49 | Access Provider | Able to provide services utilising access provided by supplier owned infrastructure and services | B | M
FD-LCMVPN-L3-50 | Access Provider | Able to provide services utilising access provided by the NBN | B | M
FD-LCMVPN-L3-51 | Access Provider | Able to provide services utilising access provided by a 3rd party | O | D
FD-LCMVPN-L3-52 | NBN Access Traffic Class | When providing a service that utilises NBN TC4 access services, align to NBN's performance guarantees for that Traffic Class. | B | M
FD-LCMVPN-L3-53 | NBN Access Traffic Class | When providing a service that utilises NBN TC2 access services, align to NBN's performance guarantees for that Traffic Class. | B | M
FD-LCMVPN-L3-54 | NBN Access Traffic Class | When providing a service that utilises NBN Enterprise Ethernet access services, align to NBN's performance guarantees for that Traffic Class. | B | M
Unmanaged Layer 2 VPN
FD-UVPN-L2-1 | Availability | Services are able to offer availability of ≥99.9% | B | M
FD-UVPN-L2-2 | Bandwidth | Services offer the following range of guaranteed bandwidth tiers: - 1, 2, 3, 5, 7.5, 10 Mbps - 20, 30, 50, 75, 100 Mbps - 200, 300, 500, 750, 1000 Mbps - 2, 3, 5, 7.5, 10 Gbps - 20, 30, 50, 75, 100 Gbps | B | M
FD-UVPN-L2-3 | Bandwidth | Ensure that the bandwidth provided allows a single session to burst to the maximum bandwidth, i.e. use of aggregation technology to provide the bandwidth across the Tenderer network is not expected. | B | M
FD-UVPN-L2-4 | Latency | Services offer the following range of maximum one-way latency tiers, mapped to the 6 classes of service that comprise each service: Class 6 - ≤5ms Class 5 - ≤10ms Class 4 - ≤20ms Class 3 - ≤30ms Class 2 - ≤50ms Class 1 - Best Effort | B | M
FD-UVPN-L2-5 | Jitter | Services offer the following range of maximum one-way latency variation tiers, mapped to the 6 classes of service that comprise each service: Class 6 - ≤2ms Class 5 - ≤5ms Class 4 - ≤10ms Class 3 - ≤20ms Class 2 - ≤30ms Class 1 - Best Effort | B | M
FD-UVPN-L2-6 | Packet loss | Service are able to offer the following range of maximum packet loss tiers, mapped to the 6 classes of service that comprise each service: Class 6 - ≤0.01% Class 5, 4 - ≤0.1% Class 3 - ≤1% Class 2, 1 - Best Effort | B | M
FD-UVPN-L2-7 | Diversity (redundancy) | Support for Customers to optionally request diversity/redundancy/resiliency built into the service. Options include, but are not limited to: - Separate building entry/exit points - Local loop connections terminate in separate Exchanges via paths separated by at least 3 metres - PE redundancy - Interface redundancy - Separate conduits in building - Automated failover capability | B | M
FD-UVPN-L2-8 | Interconnect | Support for the following physical connectors: Copper - RJ45 - RJ12 Optical (SMF and MMF) - SC - LC | B | M
FD-UVPN-L2-9 |  | Support for the following Ethernet interface types: xBASE-T xBASE-SX xBASE-LX xBASE-LH xBASE-EX xBASE-ZX xBASE-EZX | B | M
FD-UVPN-L2-10 | Interconnect | Support for the following interface speeds: - 10Mbps - 100Mbps - 1000Mbps/1Gbps - 10Gbps - 100Gbps | B | M
FD-UVPN-L2-11 | Interconnect | Support for auto-negotiation or hard coded speed and duplex. | B | M
FD-UVPN-L2-12 | Interconnect | Provide a range of interconnection options - single interface - multiple (aggregated) - multiple (standby) | B | M
FD-UVPN-L2-13 | QoS | Support for Class of Service is required for multiple traffic types as defined in FDG-12 and FDG-13. | B | M
FD-UVPN-L2-14 | Performance | All layer 2 services must be measured and reported against the following metrics: - Availability - Bandwidth - Latency - Jitter - Frame loss | B | M
FD-UVPN-L2-15 | L2 Protocols | Support for the following L2 protocols where applicable: - 802.3ad (802.3AX) - mLACP - 802.1Q - 802.1ad - CoS - STP, RSTP | B | M
FD-UVPN-L2-16 | MTU | Support for jumbo frames with an MTU of 9000 | B | M
FD-UVPN-L2-17 | MTU | Support for frames with an MTU of 1500 | O | D
FD-UVPN-L2-18 | L3 Protocols | Support for Multicast. | O | D
FD-UVPN-L2-19 | Reporting | Provide network traffic analysis to assist with troubleshooting application and Customer data paths | B | M
FD-UVPN-L2-20 | Interconnect NNI | Provide a Network-to-Network Interfaces (NNI) to allow full interoperability between themselves and any other Network Tenderer including routing updates, QoS support, and performance guarantees. Traffic that traverses the interconnect must be transparent to the end user and application. | O | D
FD-UVPN-L2-21 | Topologies | Where more than one Service is procured offer support for Multi-point connectivity. Supported topologies must be: - Hub and spoke - Mesh | O | M
FD-UVPN-L2-22 | Access Physical Layer | Able to provide services utilising an access physical layer of satellite | O | D
FD-UVPN-L2-23 | Access Physical Layer | Able to provide services utilising an access physical layer of fixed wireless | O | D
FD-UVPN-L2-24 | Access Physical Layer | Able to provide services utilising an access physical layer of copper | O | D
FD-UVPN-L2-25 | Access Physical Layer | Able to provide services utilising an access physical layer of fibre | B | M
FD-UVPN-L2-26 | Access Provider | Able to provide services utilising access provided by supplier owned infrastructure and services | B | M
FD-UVPN-L2-27 | Access Provider | Able to provide services utilising access provided by the NBN | B | M
FD-UVPN-L2-28 | Access Provider | Able to provide services utilising access provided by a 3rd party | O | D
FD-UVPN-L2-29 | NBN Access Traffic Class | When providing a service that utilises NBN TC4 access services, align to NBN's performance guarantees for that Traffic Class. | B | M
FD-UVPN-L2-30 | NBN Access Traffic Class | When providing a service that utilises NBN TC2 access services, align to NBN's performance guarantees for that Traffic Class. | B | M
FD-UVPN-L2-31 | NBN Access Traffic Class | When providing a service that utilises NBN Enterprise Ethernet access services, align to NBN's performance guarantees for that Traffic Class. | B | M
Unmanaged Layer 3 VPN
FD-UVPN-L3-1 | Availability | Services are able to offer availability of ≥99.9% | B | M
FD-UVPN-L3-2 | Bandwidth | Services offer the following range of guaranteed bandwidth tiers: - 1, 2, 3, 5, 7.5, 10 Mbps - 20, 30, 50, 75, 100 Mbps - 200, 300, 500, 750, 1000 Mbps - 2, 3, 5, 7.5, 10 Gbps - 20, 30, 50, 75, 100 Gbps | B | M
FD-UVPN-L3-3 | Bandwidth | Ensure that the bandwidth provided allows a single session to burst to the maximum bandwidth, i.e. use of aggregation technology to provide the bandwidth across the Tenderer network is not expected. | B | M
FD-UVPN-L3-4 | Latency | Services offer the following range of maximum one-way latency tiers, mapped to the 6 classes of service that comprise each service: Class 6 - ≤5ms Class 5 - ≤10ms Class 4 - ≤20ms Class 3 - ≤30ms Class 2 - ≤50ms Class 1 - Best Effort | B | M
FD-UVPN-L3-5 | Jitter | Services offer the following range of maximum one-way latency variation tiers, mapped to the 6 classes of service that comprise each service: Class 6 - ≤2ms Class 5 - ≤5ms Class 4 - ≤10ms Class 3 - ≤20ms Class 2 - ≤30ms Class 1 - Best Effort | B | M
FD-UVPN-L3-6 | Packet loss | Service are able to offer the following range of maximum packet loss tiers, mapped to the 6 classes of service that comprise each service: Class 6 - ≤0.01% Class 5, 4 - ≤0.1% Class 3 - ≤1% Class 2, 1 - Best Effort | B | M
FD-UVPN-L3-7 | Diversity (redundancy) | Support for Customers to optionally request diversity/redundancy/resiliency built into the service. Options include, but are not limited to: - Separate building entry/exit points - Local loop connections terminate in separate Exchanges via paths separated by at least 3 metres - PE redundancy - Interface redundancy - Separate conduits in building - Automated failover capability | O | D
FD-UVPN-L3-8 | Interconnect | Support for the following physical connectors: Copper - RJ45 - RJ12 Optical (SMF and MMF) - SC - LC | B | M
FD-UVPN-L3-9 | Interconnect | Support for the following Ethernet interface types: xBASE-T xBASE-SX xBASE-LX xBASE-LH xBASE-EX xBASE-ZX xBASE-EZX | B | M
FD-UVPN-L3-10 | Interconnect | Support for the following interface speeds: - 10Mbps - 100Mbps - 1000Mbps/1Gbps - 10Gbps - 100Gbps | B | M
FD-UVPN-L3-11 | Interconnect | Support for auto-negotiation or hard coded speed and duplex. | B | M
FD-UVPN-L3-12 | Interconnect | Provide a range of interconnection options - single interface - multiple (aggregated) - multiple (standby) | B | M
FD-UVPN-L3-13 | QoS | Support for Quality of Service is required for multiple traffic types as defined in FDG-12 and FDG-13. | B | M
FD-UVPN-L3-14 | Performance | All layer 2 services must be measured and reported against the following metrics: - Availability - Bandwidth - Latency - Jitter - Frame loss | B | M
FD-UVPN-L3-15 | Performance | All layer 3 services must be measured and reported against the following metrics: - Availability - Bandwidth - Latency - Jitter - Packet loss | B | M
FD-UVPN-L3-16 | L2 Protocols | Support for the following L2 protocols where applicable: - 802.3ad (802.3AX) - mLACP - 802.1Q - 802.1ad - CoS | B | M
FD-UVPN-L3-17 | L3 Protocols | Support for the following L3 protocols where applicable: - IPv4 (RFC 791) and IPv6 (RFC 2460), dual stack where necessary - QoS - VRF | B | M
FD-UVPN-L3-18 | L3 Protocols | Support for the following routing protocols where applicable: - default routing - RIP - OSPF - BGP - EIGRP | B | M
FD-UVPN-L3-19 | MTU | Support for jumbo frames with an MTU of 9000 | B | M
FD-UVPN-L3-20 |  | Support for frames with an MTU of 1500 | O | D
FD-UVPN-L3-21 | L3 Technologies | Provide support for Layer 3 technologies: - VPRN - VRF | O | D
FD-UVPN-L3-22 | L3 Protocols | Provide IP addressing for link nets (i.e. the connection from the CPE to the Tenderer network), where needed | B | M
FD-UVPN-L3-23 | L3 Protocols | Provide support for self managed private/public IP space for links and Customer LANs for both IPv4 and IPv6 | O | D
FD-UVPN-L3-24 | L3 Protocols | Providers support for Multicast including providing Designated Routers and Rendezvous Points across the Service | O | D
FD-UVPN-L3-25 | Reporting | Provide network traffic analysis to assist with troubleshooting application and Customer data paths | B | M
FD-UVPN-L3-26 | Interconnect NNI | Provide a Network-to-Network Interfaces (NNI) to allow full interoperability between themselves and any other Network Tenderer including routing updates, QoS support, and performance guarantees. Traffic that traverses the interconnect must be transparent to the end user and application. | O | D
FD-UVPN-L3-27 | Topologies | Where more than one Service is procured offer support for Multi-point connectivity. Supported topologies must be: - Hub and spoke - Mesh | O | M
FD-UVPN-L3-28 | Access Physical Layer | Able to provide services utilising an access physical layer of satellite | O | D
FD-UVPN-L3-29 | Access Physical Layer | Able to provide services utilising an access physical layer of fixed wireless | O | D
FD-UVPN-L3-30 | Access Physical Layer | Able to provide services utilising an access physical layer of copper | O | D
FD-UVPN-L3-31 | Access Physical Layer | Able to provide services utilising an access physical layer of fibre | B | M
FD-UVPN-L3-32 | Access Provider | Able to provide services utilising access provided by supplier owned infrastructure and services | B | M
FD-UVPN-L3-33 | Access Provider | Able to provide services utilising access provided by the NBN | B | M
FD-UVPN-L3-34 | Access Provider | Able to provide services utilising access provided by a 3rd party | O | D
FD-UVPN-L3-35 | NBN Access Traffic Class | When providing a service that utilises NBN TC4 access services, align to NBN's performance guarantees for that Traffic Class. | B | M
FD-UVPN-L3-36 | NBN Access Traffic Class | When providing a service that utilises NBN TC2 access services, align to NBN's performance guarantees for that Traffic Class. | B | M
FD-UVPN-L3-37 | NBN Access Traffic Class | When providing a service that utilises NBN Enterprise Ethernet access services, align to NBN's performance guarantees for that Traffic Class. | B | M
FIXED DATA
REQUIREMENTS

## Priced In Table (hidden)
CONCAT | Base/Option | Priority | Compliance | Priced In | Input Table
BMC | B | M | C | Yes
BMP | B | M | P | Yes | C
BMN | B | M | N | No | P
BDC | B | D | C | [Yes / No] | N
BDP | B | D | P | [Yes / No]
BDN | B | D | N | No
OMC | O | M | C | [Yes / No]
OMP | O | M | P | [Yes / No]
OMN | O | M | N | No
ODC | O | D | C | [Yes / No]
ODP | O | D | P | [Yes / No]
ODN | O | D | N | No
OOC | O | O | C | [Yes / No]
OOP | O | O | P | [Yes / No]
OON | O | O | N | No