## Copyright
COMMERCIAL IN CONFIDENCE
Copyright
This work is licensed under the Creative Commons Attribution-NoDerivatives 4.0 International License. Terms for use can be found at https://www.customerservice.nsw.gov.au/copyright and the applicable license for use is at http://creativecommons.org/licenses/by-nd/4.0/.
© State of New South Wales through Department of Customer Service, 2020.
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
INTERNET
REQUIREMENTS

## Instructions
COMMERCIAL IN CONFIDENCE
INSTRUCTIONS
| Name of Tenderer | <Please insert Tenderer Name>
Information Required
| Response Details Required | Tenderers are required to indicate compliance with each requirement and describe how their service offerings meets the requirement. Tenderers are also expected to indicate which compliant or partially compliant requirements are priced in to the price book in the spreadsheet.
| Worksheet Title | Description
| INSTRUCTIONS | Contains the outline of the content within this document, including the definition of cells that require Tenderer input.
| GENERAL | Contains Requirements that apply to all Services within this Service Tower.
| INTERNET ACCESS | Contains Requirements that apply to Internet Access services as defined in the Internet Service Tower.
| INTERNET ACCESS ADD-ONS | Contains Requirements that apply to Internet Access Add-ons services as defined in the Internet Service Tower.
| Table Header |  | Table Header: For information purposes - do not edit
| Table Sub Header 1 |  | Table Sub Header 1: For information purposes - do not edit
| Table Sub Header 2 |  | Table Sub Header 2: For information purposes - do not edit
| Field Type 1 |  | ID Header 1: For information purposes - do not edit
| Field Type 2 |  | ID Header 2: Contains mandatory service type information - do not edit
| Tenderer Response Field |  | Tenderer Response: For Tenderers to enter their responses - editable
Base Services
| B | Base To be included as part of the base service offering.
| O | Optional Not necessary as part of the base service, but represents an optional feature or function that Eligible Customers may have a need for.
Priority
| M | Mandatory Must be provided for Base Products. Must be provided for Product Options if the respective Option is provided by a Tenderer.
| D | Desirable Eligible Customers have indicated that this requirement is integral to their business operations and therefore would materially influence their selection of a Tenderer.
| O | Optional Eligible Customers have indicated that they are interested in this requirement, however, for the majority of Eligible Customers it would not materially influence their selection of a Tenderer.
Compliance
| C | Compliant Tenderers must describe how this requirement is met.
| P | Partially Compliant Tenderers must describe how this requirement is met and any mitigating capability offered and/or future plans to become fully compliant.
| N | Non-Compliant Tenderers should describe any mitigating capability offered and/or future plans to become compliant.
Priced In
| Yes | This requirement has been priced in to the relevant service in the Price Book.
| No | This requirement has not been priced in to the relevant service in the Price Book.
| Yes / No | Tenderers to advise whether this requirement has been priced in to the relevant service in the Price Book.
INTERNET
REQUIREMENTS

## General
COMMERCIAL IN CONFIDENCE
General - Applies to all
Reference | Requirement Type | Requirement | Base / Option (B/O) | Priority (M/D/O) | Priced In | Compliance (C/P/N) | Compliance Notes
General
I-G-1 | ISM | All services are compliant with OFS-2015-05-NSW Government Digital Information Security Policy (http://arp.nsw.gov.au/ofs-2015-05-nsw-government-digital-information-security-policy) | B | M |  |  |  | BM
I-G-2 | Reporting | At the handing over of all services, a provisioning report must be provided which includes, but is not limited to the scope outlined in the relevant layer specific requirements. | B | M |  |  |  | BM
I-G-3 | ISM | Storage of information provided by the Tenderer must be located within Australia. | B | M |  |  |  | BM
I-G-4 | ISM | Storage of information provided by the Tenderer shall preferably be located within NSW. | B | D |  |  |  | BD
I-G-5 | ISM | Services being provided that utilise storage services outside NSW shall meet the Customer's obligations to legislated requirements. | B | M |  |  |  | BM
I-G-6 | Management | Provide full proactive management of the Service and interconnection points, including monitoring and pro-active response for all metrics outlined in the relevant layer specific requirements. | B | M |  |  |  | BM
I-G-7 | Performance | Where performance SLAs are provided, the performance testing demarcations for: - point-to-point services is between the active demarcation points. - multi-point services is between the Customer site active termination point and the Data Centre(s), or other common location, active termination points. - mesh services is between any two locations participating in the mesh. - internet gateway services is between the Customer site active termination point and the Tenderer's gateway to the Internet | B | M |  |  |  | BM
I-G-8 | Configuration | Documentation relating to the configuration of the service must be maintained and made available to the Customer or the Contract Authority upon request. | B | M |  |  |  | BM
I-G-9 | Reporting | Provide a portal for access to near real time and historical reports. | B | M |  |  |  | BM
I-G-10 | Management | Provide an API for self service functions | O | D |  |  |  | OD
I-G-11 | Logging | Provide logging information data stream for the Service to support a Customer or Third Party SIEM. | O | D |  |  |  | OD
I-G-12 | CoS and QoS | Where QoS and CoS are referenced the following table must be used to define the required CoS (L2) and DSCP (L3) markings. These markings must be maintained end-to-end. The solution must be able to mark traffic based on agreed policies including IP address, port number and application marking. | B | M |  |  |  | BM
I-G-13 | CoS and QoS | Where QoS and CoS are referenced the following table must be used to define the required minimum queue characteristics. | B | M |  |  |  | BM
INTERNET
REQUIREMENTS

## Internet Access
COMMERCIAL IN CONFIDENCE
Internet Access |  |  |  |  | SOLUTION #1 |  |  | SOLUTION #2 |  |  | SOLUTION #3
Reference | Requirement Type | Requirement | Base / Option (B/O) | Priority (M/D/O) | Priced In | Compliance (C/P/N) | Compliance Notes | Priced In | Compliance (C/P/N) | Compliance Notes | Priced In | Compliance (C/P/N) | Compliance Notes
Core Internet Uplink
I-CIU-1 | Availability | Services are to offer an availability SLA of ≥99.9% | B | M
I-CIU-2 | Bandwidth | Services offer the following range of bandwidth tiers: - 100-500Mbps in increments of 100Mbps - 1, 5, 10, 100Gbps | B | M
I-CIU-3 | Bandwidth | Bandwidth for the service is guaranteed and symmetrical within the Tenderer's network and across any peering and interconnection links with other Tenderers. | B | M
I-CIU-4 | Bandwidth | Outside the Tenderer network the bandwidth is expected to be best efforts, however, the expectation is that the bandwidth is available for most of the time i.e. 70% of the Service Window of the service. | O | D
I-CIU-5 | Bandwidth | Options for the services to be of asymmetrical bandwidth i.e. download speed ≠ upload speed | O | D
I-CIU-6 | Bandwidth | The bandwidth provided allows a single session to burst to the maximum bandwidth, i.e. use of aggregation technology to provide the bandwidth across the Tenderer network is not expected. | B | M
I-CIU-7 | Internal Latency | Services able to offer a round trip time latency target of ≤2ms within the Tenderer network. | B | M
I-CIU-8 | External Latency | Although performance outside of the Tenderer's network is best effort the expected targets for round trip time latency are as follows: NSW - ≤10ms East Coast Australia - ≤20ms Australia - ≤60ms US - ≤200ms Europe - ≤400ms Asia - ≤150ms | O | D
I-CIU-9 | Internal Jitter | Services able to offer a two-way jitter target of ≤1ms within the Tenderer network. | B | M
I-CIU-10 | External Jitter | Although performance outside of the Tenderer's network is best effort the expected targets for two-way jitter are as follows: NSW - ≤2ms East Coast Australia - ≤4ms Australia - ≤15ms US - ≤50ms Europe - ≤100ms Asia - ≤30ms | O | D
I-CIU-11 | Internal Packet Loss | Services able to offer a packet loss service level of ≤0.01% within the Tenderer network. | B | M
I-CIU-12 | External Packet Loss | Although performance outside of the Tenderer's network is best effort the expected targets for packet loss are as follows: NSW - ≤0.02% East Coast Australia - ≤0.02% Australia - ≤0.03% US - ≤0.05% Europe - ≤0.05% Asia - ≤0.05% | O | D
I-CIU-13 | Performance | Where performance SLAs are provided, the performance testing demarcations are between the Customer site Ethernet Demarcation and the Tenderer's boundary to the internet, typically Border Router interface with another Tenderer or Peering fabric. | B | M
I-CIU-14 | Diversity (redundancy) | Support for a range of diversity options for services that are comprised of all or some for the following: - Separate building entry/exit points. - CPE redundancy - PE redundancy - Interface redundancy - Separate conduits in building - Automated failover capability - Support for routing such that a secondary service is not advertised unless in use | O | D
I-CIU-15 | Interconnect | Support for the following physical connectors: Copper - RJ45 - RJ12 Optical (SMF and MMF) - SC - LC | B | M
I-CIU-16 | Interconnect | Support for the following Ethernet interface types: xBASE-T xBASE-SX xBASE-LX xBASE-LH xBASE-EX xBASE-ZX xBASE-EZX | B | M
I-CIU-17 | Interconnect | Support for the following interface speeds: - 10Mbps - 100Mbps - 1000Mbps/1Gbps - 10Gbps - 100Gbps | B | M
I-CIU-18 | Interconnect | Support for auto-negotiation or hard coded speed and duplex. | B | M
I-CIU-19 | Interconnect | Provide a range of interconnection options - single interface - multiple (aggregated) - multiple (standby) | B | M
I-CIU-20 | Performance | Services are measured and reported against the following metrics: - Availability - Bandwidth - Latency - Jitter - Packet loss | B | M
I-CIU-21 | L2 Protocols | Support for the following L2 protocols where applicable: - 802.3ad (802.3AX) - mLACP - 802.1Q - 802.1ad - CoS | B | M
I-CIU-22 | L3 Protocols | Support for IPv4 (RFC 791) and IPv6 (RFC 2460), dual stack where necessary. | B | M
I-CIU-23 | L3 Protocols | Support for the following routing protocols where applicable: - default routing - BGP | B | M
I-CIU-24 | MTU | Support for jumbo frames with an MTU of 9000 | O | D
I-CIU-25 | MTU | Support for frames with an MTU of 1500 | B | M
I-CIU-26 | Hardware | Provide a site CPE device to connect directly to the Customer LAN devices | B | M
I-CIU-27 | L3 Protocols | Provide DHCP for IPv4 public addressing at Customer LAN sites | B | M
I-CIU-28 | L3 Protocols | Provide DHCP for IPv6 public addressing at Customer LAN sites | O | D
I-CIU-29 | L2 Protocols | Provide support for at least 4 VLANs at the site (C-VLAN) | O | D
I-CIU-30 | L3 Protocols | Provide IP addressing for link subnets where needed i.e. the connection from the CPE to the Tenderer network | B | M
I-CIU-31 | L3 Protocols | Provide support for self managed private/public IP space for links and Customer LANs for both IPv4 and IPv6 | O | D
I-CIU-32 | L3 Protocols | Provide Public IP addresses as reasonably required, or support Customer provided Public IP address blocks | O | D
I-CIU-33 | Reporting | Provide network traffic analysis to assist with troubleshooting application and Customer data paths | O | D
I-CIU-34 | Interconnect NNI | Provide a Network-to-Network Interfaces (NNI) to allow full interoperability between themselves and any other Network Tenderer including routing updates and performance guarantees. Traffic that traverses the interconnect must be transparent to the end user and application. | O | D
I-CIU-35 |  | Provide both national and international connectivity. | B | M
I-CIU-36 | Security | Provide basic protection and mitigation against distributed denial of service attacks e.g. use of routing to "blackhole" by the ISP. | B | M
I-CIU-37 | Security | Provide and maintain a DDOS attack incident and response plan | B | M
I-CIU-38 | Security | Provide enhanced protection and mitigation against distributed denial of service attacks. This must be done in a layered approach including but not limited to detection of spoofed IP packets, behaviour based solutions. | O | D
I-CIU-39 | Security | Provide IP address and protocol blacklisting including regional and country blocking | O | D
I-CIU-40 | Security | Ensure routing is secure and accurate, for example, use BGP filtering and BGP peering encryption. | O | D
I-CIU-41 | Access Physical Layer | Able to provide services utilising an access physical layer of satellite | O | D
I-CIU-42 | Access Physical Layer | Able to provide services utilising an access physical layer of fixed wireless | O | D
I-CIU-43 | Access Physical Layer | Able to provide services utilising an access physical layer of copper | O | D
I-CIU-44 | Access Physical Layer | Able to provide services utilising an access physical layer of fibre | B | M
I-CIU-45 | Access Provider | Able to provide services utilising access provided by supplier owned infrastructure and services | B | M
I-CIU-46 | Access Provider | Able to provide services utilising access provided by the NBN | B | M
I-CIU-47 | Access Provider | Able to provide services utilising access provided by a 3rd party | O | D
I-CIU-48 | NBN Access Traffic Class | When providing a service that utilises NBN TC4 access services, align to NBN's performance guarantees for that Traffic Class. | B | M
I-CIU-49 | NBN Access Traffic Class | When providing a service that utilises NBN TC2 access services, align to NBN's performance guarantees for that Traffic Class. | B | M
I-CIU-50 | NBN Access Traffic Class | When providing a service that utilises NBN Enterprise Ethernet access services, align to NBN's performance guarantees for that Traffic Class. | B | M
Internet Access
I-IA-1 | Availability | Services offer the following range of availability SLAs: - IA-T2 - ≥99.9% - IA-T3 - ≥99.2% - IA-T4 - Best Effort | B | M
I-IA-2 | Bandwidth | Services offer the following range of bandwidths (down/up in Mbps): - IA-T2 - 1/1, 2/2, 5/5 - IA-T3 - 5/5, 10/10, 20/20, 40/40, 50/50, 100/100 - IA-T4 = 12/1, 25/5, 50/20, 100/40, 250/100, 500/200, 1000/400 | B | M
I-IA-3 | Bandwidth | Bandwidth contention for the service is as follows: - IA-T2 = Uncontended - IA-T3 = Contended - IA-T4 = Contended | O | D
I-IA-4 | Bandwidth | For bandwidths that are uncontended - outside the Tenderer network the bandwidth is expected to be best efforts, however, the expectation is that the bandwidth is available for most of the time i.e. 70% of the Service Window of the service. | O | D
I-IA-5 | Bandwidth | Where bandwidths are contended, it is expected that the bandwidth is available for most of the time i.e. 60% of the Service Window of the service. | O | D
I-IA-6 | Bandwidth | Provide the following bandwidth symmetry: - IA-T2 = symmetrical - IA-T3 = symmetrical - IA-T4 = asymmetrical | B | M
I-IA-7 | Bandwidth | Ensure that the bandwidth provided allows a single session to burst to the maximum bandwidth, i.e. use of aggregation technology to provide the bandwidth across the Tenderer network is not expected. | B | M
I-IA-8 | Internal Latency | All services must offer a round trip time latency targets of ≤5ms within the Tenderer network. | B | M
I-IA-9 | External Latency | Although performance outside of the Tenderer's network is best effort the expected targets for round trip time latency are as follows: NSW - ≤10ms East Coast Australia - ≤20ms Australia - ≤60ms US - ≤200ms Europe - ≤400ms Asia - ≤150ms | O | D
I-IA-10 | Internal Jitter | All services must offer a two-way jitter target of ≤2ms within the Tenderer network. | B | M
I-IA-11 | External Jitter | Although performance outside of the Tenderer's network is best effort the expected targets for two-way jitter are as follows: NSW - ≤2ms East Coast Australia - ≤4ms Australia - ≤15ms US - ≤50ms Europe - ≤100ms Asia - ≤30ms | O | D
I-IA-12 | Internal Packet Loss | All services must be able to offer a packet loss service level of ≤0.02% within the Tenderer network. | B | M
I-IA-13 | External Packet Loss | Although performance outside of the Tenderer's network is best effort the expected targets for packet loss are as follows: NSW - ≤0.02% East Coast Australia - ≤0.02% Australia - ≤0.03% US - ≤0.05% Europe - ≤0.05% Asia - ≤0.05% | O | D
I-IA-14 | Performance | Where performance SLAs are provided, the performance testing demarcations must be between the Customer site Ethernet Demarcation and the Tenderer's boundary to the internet, typically Border Router interface with another Tenderer or Peering fabric. | B | M
I-IA-15 | Interconnect | Support for the following physical connectors: Copper - RJ45 - RJ12 Optical (SMF and MMF) - SC - LC | B | M
I-IA-16 | Interconnect | Support for the following Ethernet interface types: xBASE-T xBASE-SX xBASE-LX xBASE-LH xBASE-EX xBASE-ZX xBASE-EZX | B | M
I-IA-17 | Interconnect | Support for the following interface speeds: - 10Mbps - 100Mbps - 1000Mbps/1Gbps - 10Gbps - 100Gbps | B | M
I-IA-18 | Interconnect | Support for auto-negotiation or hard coded speed and duplex. | B | M
I-IA-19 | Interconnect | Provide a range of interconnection options - single interface - multiple (aggregated) - multiple (standby) | B | M
I-IA-20 | Performance | All layer 3 services must be measured and reported against the following metrics: - Availability - Bandwidth | B | M
I-IA-21 | Performance | All layer 3 services may be measured and reported against the following metrics: - Latency - Jitter - Packet loss | O | D
I-IA-22 | L2 Protocols | Support for the following L2 protocols where applicable: - 802.3ad (802.3AX) - 802.1Q - 802.1ad | B | M
I-IA-23 | L3 Protocols | Support for IPv4 (RFC 791) and IPv6 (RFC 2460), dual stack where necessary. | B | M
I-IA-24 | L3 Protocols | Support for the following routing protocols where applicable: - default routing - BGP | O | D
I-IA-25 | MTU | Support for frames with an MTU of 1500 | B | M
I-IA-26 | MTU | Support for jumbo frames with an MTU of 9000 | O | D
I-IA-27 | Hardware | Provide a site CPE device to connect directly to the Customer LAN devices | O | D
I-IA-28 | L3 Protocols | Provide DHCP for IPv4 public addressing at Customer LAN sites | O | D
I-IA-29 | L3 Protocols | Provide DHCP for IPv6 public addressing at Customer LAN sites | O | D
I-IA-30 | L2 Protocols | Provide support for at least 4 VLANs at the site (C-VLAN) | O | D
I-IA-31 | L3 Protocols | Provide IP addressing for link subnets where needed i.e. the connection from the CPE to the Tenderer network | B | M
I-IA-32 | L3 Protocols | Provide support for self managed private/public IP space for links and Customer LANs for both IPv4 and IPv6 | O | D
I-IA-33 | Reporting | Provide network traffic analysis to assist with troubleshooting application and Customer data paths | B | M
I-IA-34 | Interconnect NNI | Provide a Network-to-Network Interfaces (NNI) to allow full interoperability between themselves and any other Network Tenderer including routing updates and performance guarantees. Traffic that traverses the interconnect must be transparent to the end user and application. | O | D
I-IA-35 | Aggregation | Provide Access Circuit aggregation and load balancing, i.e. the ability to connect additional circuits and utilise the additional circuits based on a range of factors, such as the traffic type. | O | D
I-IA-36 | Internet offload | Provide Internet offload, i.e. the ability to send Internet destined traffic to the Internet directly from the site either across a directly connected Internet connection or across the WAN to an Internet gateway. | O | D
I-IA-37 | Connectivity | Provide both national and international connectivity. | B | M
I-IA-38 | Security | Provide basic protection and mitigation against distributed denial of service attacks e.g. use of routing to "blackhole" by the ISP. | B | M
I-IA-39 | Security | Provide and maintain a DDOS attack incident and response plan | B | M
I-IA-40 | Security | Provide enhanced protection and mitigation against distributed denial of service attacks. This must be done in a layered approach including but not limited to detection of spoofed IP packets, behaviour based solutions. | O | D
I-IA-41 | Security | Provide IP address and protocol blacklisting including regional and country blocking | O | D
I-IA-42 | Security | Ensure routing is secure and accurate, for example, use BGP filtering and BGP peering encryption. | O | D
I-IA-43 | Public IP | Provide Public IP addresses as reasonably required, or support Customer provided Public IP address blocks | B | M
I-IA-44 | Access Physical Layer | Able to provide services utilising an access physical layer of satellite | O | D
I-IA-45 | Access Physical Layer | Able to provide services utilising an access physical layer of fixed wireless | O | D
I-IA-46 | Access Physical Layer | Able to provide services utilising an access physical layer of copper | O | D
I-IA-47 | Access Physical Layer | Able to provide services utilising an access physical layer of fibre | B | M
I-IA-48 | Access Provider | Able to provide services utilising access provided by supplier owned infrastructure and services | B | M
I-IA-49 | Access Provider | Able to provide services utilising access provided by the NBN | B | M
I-IA-50 | Access Provider | Able to provide services utilising access provided by a 3rd party | O | D
I-IA-51 | NBN Access Traffic Class | When providing a service that utilises NBN TC4 access services, align to NBN's performance guarantees for that Traffic Class. | B | M
I-IA-52 | NBN Access Traffic Class | When providing a service that utilises NBN TC2 access services, align to NBN's performance guarantees for that Traffic Class. | B | M
I-IA-53 | NBN Access Traffic Class | When providing a service that utilises NBN Enterprise Ethernet access services, align to NBN's performance guarantees for that Traffic Class. | B | M
Peering Access
I-PA-1 | Availability | Services offer an availability SLAs of ≥99.9% | B | M
I-PA-2 | Bandwidth | Services offer the following range of bandwidth tiers: - 100-500Mbps in increments of 100Mbps - 1, 5, 10, 100Gbps | B | M
I-PA-3 | Bandwidth | Bandwidth for the service will be guaranteed within the Tenderer's Peering network and across any interconnection links with other Tenderers. | B | M
I-PA-4 | Bandwidth | Outside the Tenderer network the bandwidth is expected to be best efforts, however, the expectation is that the bandwidth is available for most of the time i.e. 70% of the Service Window of the service. | B | M
I-PA-5 | Bandwidth | The bandwidth provided allows a single session to burst to the maximum bandwidth, i.e. use of aggregation technology to provide the bandwidth across the Tenderer network is not expected. | B | M
I-PA-6 | Latency | Services offer round trip time latency targets of ≤2ms within the Tenderer peering network. | B | M
I-PA-7 | Internal Jitter | Services offer a two-way jitter targets of ≤1ms within the Tenderer network. | B | M
I-PA-8 | Internal Packet Loss | Services offer a packet loss service level of ≤0.01% | B | M
I-PA-9 | Performance | Where performance SLAs are provided, the performance testing demarcations must be between the Customer site Ethernet Demarcation and the Tenderer's boundary to the internet, typically Border Router interface with another Tenderer or Peering fabric. | B | M
I-PA-10 | Diversity (redundancy) | Support for a range of diversity options for services that are comprised of all or some for the following: - CPE redundancy - PE redundancy - Interface redundancy - Separate conduits in building - Automated failover capability | B | M
I-PA-11 | Interconnect | Support for the following physical connectors: Copper - RJ45 - RJ12 Optical (SMF and MMF) - SC - LC | B | M
I-PA-12 | Interconnect | Support for the following Ethernet interface types: xBASE-T xBASE-SX xBASE-LX xBASE-LH xBASE-EX xBASE-ZX xBASE-EZX | B | M
I-PA-13 | Interconnect | Support for the following interface speeds: - 10Mbps - 100Mbps - 1000Mbps/1Gbps - 10Gbps - 100Gbps | B | M
I-PA-14 | Interconnect | Support for auto-negotiation or hard coded speed and duplex. | B | M
I-PA-15 | Interconnect | Provide a range of interconnection options - single interface - multiple (aggregated) - multiple (standby) | B | M
I-PA-16 | Performance | All layer 3 services must be measured and reported against the following metrics: - Availability - Bandwidth - Latency - Jitter - Packet loss | B | M
I-PA-17 | L2 Protocols | Support for the following L2 protocols where applicable: - 802.3ad (802.3AX) - mLACP - 802.1Q - 802.1ad | B | M
I-PA-18 | L3 Protocols | Support for IPv4 (RFC 791) and IPv6 (RFC 2460), dual stack where necessary. | B | M
I-PA-19 | L3 Protocols | Support for the following routing protocols where applicable: - default routing - BGP | B | M
I-PA-20 | MTU | Support for jumbo frames with an MTU of 9000 | B | M
I-PA-21 | MTU | Support for frames with an MTU of 1500 | O | D
I-PA-22 | Hardware | Provide a site CPE device to connect directly to the Customer LAN devices | O | D
I-PA-23 | L3 Protocols | Provide IP addressing for link subnets where needed i.e. the connection from the CPE to the Tenderer network. | O | D
I-PA-24 | L3 Protocols | Provide Public IP addresses as reasonably required, or support Customer provided Public IP address blocks | O | D
I-PA-25 | Reporting | Provide network traffic analysis to assist with troubleshooting application and Customer data paths | O | D
I-PA-26 | Security | Ensure routing is secure and accurate, for example, use BGP filtering and BGP peering encryption. | O | D
I-PA-27 | Service | Provide logical networks to other nominated Peering Customers | O | D
I-PA-28 | Service | Provide dedicated networks to other nominated Peering Customers | O | D
INTERNET
REQUIREMENTS

## Internet Access Add-ons
COMMERCIAL IN CONFIDENCE
General - Applies to all |  |  |  |  | SOLUTION #1 |  |  | SOLUTION #2 |  |  | SOLUTION #3
Reference | Requirement Type | Requirement | Base / Option (B/O) | Priority (M/D/O) | Priced In | Compliance (C/P/N) | Compliance Notes | Priced In | Compliance (C/P/N) | Compliance Notes | Priced In | Compliance (C/P/N) | Compliance Notes
Internet Firewall
I-F-1 | Availability | All services are able to offer the following availability SLAs: - IAT-1 ≥99.999% - IAT-2 ≥99.999% | B | M
I-F-2 | Bandwidth | Services offer the following range of bandwidth tiers: - 100-500Mbps in increments of 100Mbps - 1, 5, 10, 100Gbps | B | M
I-F-3 | Bandwidth | Bandwidth for the service will be guaranteed within the Tenderer's network and interconnection links with other Tenderers. | B | M
I-F-4 | Bandwidth | Ensure that the bandwidth provided allows a single session to burst to the maximum bandwidth, i.e. use of aggregation technology to provide the bandwidth across the Tenderer network is not expected. | B | M
I-F-5 | Latency | All services must not increase the round-trip time delay by more than 1ms. | B | M
I-F-6 | Jitter | All services must not increase the two-way jitter by more than 500ns. | B | M
I-F-7 | Packet Loss | All services are able to offer a packet loss (unintended packet drop) service level of ≤0.01% | B | M
I-F-8 | Performance | All services must not forward unwanted packets (as defined by rules) erroneously above 0.01% | B | M
I-F-9 | Performance | Where performance SLAs are provided, the performance testing demarcations are between the Customer site Ethernet Demarcation and the Tenderer's boundary to the internet or other networks. | B | M
I-F-10 | Interconnect | Support for the following physical connectors: Copper - RJ45 - RJ12 Optical (SMF and MMF) - SC - LC | B | M
I-F-11 | Interconnect | Support for the following Ethernet interface types: xBASE-T xBASE-SX xBASE-LX xBASE-LH xBASE-EX xBASE-ZX xBASE-EZX | B | M
I-F-12 | Interconnect | Support for the following interface speeds: - 10Mbps - 100Mbps - 1000Mbps/1Gbps - 10Gbps - 100Gbps | B | M
I-F-13 | Interconnect | Support for auto-negotiation or hard coded speed and duplex. | B | M
I-F-14 | Interconnect | Provide a range of interconnection options - single interface - multiple (aggregated) - multiple (standby) | B | M
I-F-15 | Performance | All services are measured and reported against the following metrics: - Availability - Bandwidth (bps and pps) - Latency - Jitter - Packet loss - Connections per second - Maximum concurrent connections - Transactions/requests per second | B | M
I-F-16 | L2 Protocols | Support for the following L2 protocols where applicable: - 802.3ad (802.3AX) - mLACP - 802.1Q - 802.1ad | B | M
I-F-17 | L3 Protocols | Support for IPv4 (RFC 791) and IPv6 (RFC 2460), dual stack where necessary. | B | M
I-F-18 | L3 Protocols | Support for the following routing protocols where applicable: - default routing - BGP | B | M
I-F-19 | MTU | Support for jumbo frames with an MTU of 9000 | B | M
I-F-20 | MTU | Support for frames with an MTU of 1500 | O | D
I-F-21 | L3 Protocols | Provide IP addressing for link subnets where needed i.e. the connection from the CPE to the Tenderer network | B | M
I-F-22 | L3 Protocols | Provide support for self managed private/public IP space for links and Customer LANs for both IPv4 and IPv6 | O | D
I-F-23 | L3 Protocols | Provide Public IP addresses as reasonably required, or support Customer provided Public IP address blocks | O | D
I-F-24 | Reporting | Provide network traffic analysis to assist with troubleshooting application and Customer data paths | O | D
I-F-25 | Interconnect NNI | Provide a Network-to-Network Interfaces (NNI) to allow full interoperability between themselves and any other Network Tenderer including routing updates and performance guarantees. Traffic that traverses the interconnect are transparent to the end user and application. | O | D
I-F-26 | Security | Provide basic protection and mitigation against distributed denial of service attacks e.g. use of routing to "blackhole" by the ISP. | B | M
I-F-27 | Security | There are a DDoS attack incident and response plan. | B | M
I-F-28 | Security | Provide enhanced protection and mitigation against distributed denial of service attacks. This are done in a layered approach including but not limited to detection of spoofed IP packets, behaviour based solutions. | O | D
I-F-29 | Security | Provide IP address and protocol blacklisting including regional and country blocking | O | D
I-F-30 | Security | Ensure routing is secure and accurate, for example, use BGP filtering and BGP peering encryption. | O | D
I-F-31 | Security | Provide Grey Area diagnostics, to determine which interconnecting Tenderer needs to take ownership of an incident or problem. Grey Area diagnostics are supported by tools that provide alerting, near real time and historical reporting, and sufficient information to triage the likely source of the incident or problem. | B | M
I-F-32 | Security | Provide managed firewalling services to protect applications and users. | B | M
I-F-33 |  | Support for stateful packet inspection based on L3 and L4 headers. | B | M
I-F-34 | Security | Support multiple trust levels (DMZs and other zones). | B | M
I-F-35 | Security | Support for NAT and PAT. | B | M
I-F-36 | Security | Support for whitelisting and blacklisting. | B | M
I-F-37 | Security | Support for SSL inspection. | B | M
I-F-38 | Security | Support for Layer 7 features. | O | D
I-F-39 | Security | Support for IPS/IDS. | O | D
I-F-40 | Security | Provide identity aware firewalling policies. | O | D
I-F-41 | Security | Provide enhanced monitoring and alerting of behaviour patterns and advanced persistent threats i.e. not reliant on signatures. | O | D
I-F-42 | Security | Provide automated workflow for policy changes, including checks against best/worst practices, Customer zoning policies, and duplication of rules. | O | D
I-F-43 | Security | Provide automated compliance reports on a regular basis, and 6 monthly Audits | O | D
I-F-44 | Security | Provide enhanced Unified Threat Management, such as sandboxing and scanning for malicious content | O | D
I-F-45 | Security | Scanning for malicious content should be both signature and heuristic based | O | D
I-F-46 | Security | Provide protection and mitigation against distributed denial of service attacks. | O | D
I-F-47 | Configuration | Maintain firewall rules to ensure they are fit for purpose and meet best practices | B | M
I-F-48 | Configuration | Maintain firewall configuration documentation, including associated change request numbers. The documentation are made available to the Customer and the Contract Authority upon request. | B | M
I-F-49 | Reporting | Provide a portal for access to near real time and historical reports, self service of high frequency changes, and access to documentation. | O | D
I-F-50 | Logging | Provide logging information data stream from the firewalls to support a Customer or Third Party SIEM. | O | D
I-F-51 | Security | Provide a clean access to the Internet for Customer applications where specific application controls are applied to secure the application, and global load balancing is also provided. | O | D
I-F-52 | Security | Load balancing technology provided includes global load balancing using DNS to send traffic to the correct location, to support resilience (based on health monitoring), and maintenance of applications. | O | D
I-F-53 | Security | Polices are based per application and at a minimum filter based on source and destination, content (file type, malicious content, etc), application/protocol, and deep packet inspection. | O | D
I-F-54 | Security | Polices must support standard (out of the box) and custom profiles. Profiles are based application type, behaviour, protocol type, etc. | O | D
I-F-55 | Security | Profiles are kept up to date to secure against evolving threats. | O | D
I-F-56 | Security | The solution must enable traffic inspection of internet bound traffic such as HTTP, HTTPs, and FTP. Non standard ports are supported. | O | D
I-F-57 | Security | The solution must support streaming media. | O | D
I-F-58 | Data retention | Per Application reporting and holding of web access log information are provided for at least 2 years to meet current Australian Data Retention legislation. | O | D
I-F-59 | Data retention | There should be capability for longer data retention periods of time, including compression of such data shall be able to be provided. | O | D
I-F-60 | Reporting | Report monthly or on-demand on all scanning, content blocking and access. | O | D
I-F-61 | Security | Provide anti-ad/anti-malware content inspection including filtering for inappropriate images and file types for internet browsing. | O | D
I-F-62 | Security | Provide support for Data Loss Prevention. | O | D
I-F-63 | Security | Provide Vulnerability scanning to identify and mitigate new threats. | O | D
I-F-64 | Performance | Performance improvement technology provided includes SSL offload, caching, and protocol conversion. | B | M
I-F-65 | Performance | Load balancing technology provided includes global load balancing using DNS to send traffic to the correct data centre, and local load balancing for distributing load across multiple local servers. Load balancing technologies must support performance improvements, resilience (based on health monitoring), and maintenance of applications | B | M
I-F-66 | Policies | Policies are based per group, and at a minimum filter based on source and destination, content (file type, malicious content, etc), application/protocol, and user/host rights. | B | M
I-F-67 | Authentication | Multiple authentication sources are supported, with a local authentication repository provided that supports single and multiple factors. | B | M
I-F-68 | Authentication | PKI authentication are supported, with transparent authentication from a user or host point of view | B | M
I-F-69 | Authentication | Integration to Customer identity solution (Microsoft Active Directory is predominantly used) are supported to identify which group a device is in. Authentication are transparent to the user. | B | M
I-F-70 | Connectivity | Devices (applications and user devices) are able to connect to the Product via their private network. Private address space are supported, along with NAT. | B | M
I-F-71 | Data retention | Per-user/application, per manager/business unit or per Microsoft Active Directory group reporting and holding of web access log information are provided for at least 2 years to meet current Australian Data Retention legislation for. | B | M
I-F-72 | Data retention | There should be capability for longer data retention periods of time, including compression of such data shall be able to be provided. | O | D
I-F-73 | Reporting | Report monthly or on-demand on all scanning, content blocking and user account administration. | B | M
I-F-74 | Audit | Provide 6 monthly Audits. | B | M
I-F-75 | Policies | Maintain policies to ensure they are fit for purpose and meet best practices | B | M
I-F-76 | Policies | Maintain policy configuration documentation, including associated change request numbers. The documentation are made available to the Customer and the Contract Authority. | B | M
I-F-77 | Reporting | Provide a portal for access to near real time and historical reports, self service of high frequency changes (such as taking a server offline), and access to documentation. | B | D
I-F-78 | Logging | Provide logging information data stream from the Product to support a Customer or Third Party SIEM. | B | M
I-F-79 | API | Provide an API for self service functions | O | D
I-F-80 | Security | Provide SIEM functionality | O | D
DNS Hosting
I-DNSH-1 | Availability | All services are able to offer the following availability SLAs: - IA-T1 ≥99.999% - IA-T2 ≥99.9% | B | M
I-DNSH-2 | Performance | Support for the following tiers of requests per second: - 10 - 100 - 1000 - 10000 - ≥10000 | B | M
I-DNSH-3 | Service | Provide hosting and resolution for Customer Domain Names, accessible to any device connected to the Internet. Standard Domain name hosting features should be supported, such as the support for a range of common record types and settings, DNSSec, etc. | B | M
I-DNSH-4 | Service | Provide a Domain Name Registry service, to procure and manage domain names | O | D
I-DNSH-5 | Management | Provide a portal to view DNS information, such a zone configurations, domain names hosted, etc | B | M
I-DNSH-6 | Management | Provide a portal for self service, to update domain name information and create, change, delete records | B | M
I-DNSH-7 | Security | Provide protection and mitigation against distributed denial of service attacks. | B | M
I-DNSH-8 | Service | Provide Domain Name hosting and resolution for internal networks | O | D
I-DNSH-9 | Service | Ensure that Internal domain information is not accessible to the Internet, unless allowed by the Customer | O | D
I-DNSH-10 | Service | Provide advanced DNS resolution features, such as load balancing algorithms, DNS views depending on IP address range of source (i.e. internal or external), etc. | O | D
I-DNSH-11 | Service | Provide an IP Address Management (IPAM) system for Customers to manage their IP address ranges | O | D
I-DNSH-12 | Service | Ensure the IPAM system integrates with the customer DHCP systems | O | D
I-DNSH-13 | Service | Ensure the IPAM system integrates with the DNS system | O | D
I-DNSH-14 | Service | Provide a portal to view, create, modify, and delete IP address information | O | D
Web Content Filtering
I-WCF-1 | Availability | All services are able to offer the following availability SLAs: - IA-T1 ≥99.999% - IA-T2 ≥99.9% | B | M
I-WCF-2 | Bandwidth | Services offer the following range of bandwidth tiers: - 100-500Mbps in increments of 100Mbps - 1, 5, 10, 100Gbps | B | M
I-WCF-3 | Bandwidth | Bandwidth for the service will be guaranteed within the Tenderer's network and across any peering and interconnection links with other Tenderers. | B | M
I-WCF-4 | Internal Latency | All services must offer a round trip time latency targets of ≤2ms within the Tenderer network. | B | M
I-WCF-5 | Internal Jitter | All services must offer a two-way jitter target of ≤1ms within the Tenderer network. | B | M
I-WCF-6 | Internal Packet Loss | All services are able to offer a packet loss service level of ≤0.01% | B | M
I-WCF-7 | Performance | Where performance SLAs are provided, the performance testing demarcations are between the Customer site Ethernet Demarcation and the Tenderer's boundary to the internet, typically Border Router interface with another Tenderer or Peering fabric. | B | M
I-WCF-8 | Interconnect | Support for the following physical connectors: Copper - RJ45 - RJ12 Optical (SMF and MMF) - SC - LC | B | M
I-WCF-9 | Interconnect | Support for the following Ethernet interface types: xBASE-T xBASE-SX xBASE-LX xBASE-LH xBASE-EX xBASE-ZX xBASE-EZX | B | M
I-WCF-10 | Interconnect | Support for the following interface speeds: - 10Mbps - 100Mbps - 1000Mbps/1Gbps - 10Gbps - 100Gbps | B | M
I-WCF-11 | Interconnect | Support for auto-negotiation or hard coded speed and duplex. | B | M
I-WCF-12 | Interconnect | Provide a range of interconnection options - single interface - multiple (aggregated) - multiple (standby) | B | M
I-WCF-13 | Performance | All services are measured and reported against the following metrics: - Availability - Bandwidth (bps and pps) - Latency - Jitter - Packet loss - Connections per second - Maximum concurrent connections - Transactions/requests per second | B | M
I-WCF-14 | L2 Protocols | Support for the following L2 protocols where applicable: - 802.3ad (802.3AX) - mLACP - 802.1Q - 802.1ad | B | M
I-WCF-15 | L3 Protocols | Support for IPv4 (RFC 791) and IPv6 (RFC 2460), dual stack where necessary. | B | M
I-WCF-16 | L3 Protocols | Support for the following routing protocols where applicable: - default routing - BGP | B | M
I-WCF-17 | MTU | Support for jumbo frames with an MTU of 9000 | O | D
I-WCF-18 | MTU | Support for frames with an MTU of 1500 | B | M
I-WCF-19 | L3 Protocols | Provide IP addressing for link subnets where needed i.e. the connection from the CPE to the Tenderer network | O | D
I-WCF-20 | L3 Protocols | Provide support for self managed private/public IP space for links and Customer LANs for both IPv4 and IPv6 | O | D
I-WCF-21 | L3 Protocols | Provide Public IP addresses as reasonably required, or support Customer provided Public IP address blocks | B | M
I-WCF-22 | Reporting | Provide network traffic analysis to assist with troubleshooting application and Customer data paths | B | M
I-WCF-23 | Interconnect NNI | Provide a Network-to-Network Interfaces (NNI) to allow full interoperability between themselves and any other Network Tenderer including routing updates and performance guarantees. Traffic that traverses the interconnect are transparent to the end user and application. | O | D
I-WCF-24 | Security | Provide a clean user internet browsing service where all browsing has the following features: - anti-virus protection - anti-malware protection - URL categorisation - whitelisting and blacklisting - SSL inspection | B | M
I-WCF-25 | Policies | Groups are supported and policies are configurable per group. | B | M
I-WCF-26 | Configuration | The URL categories are be updated on a pre-agreed regular basis to ensure they are accurate. The Customer are able to configure URL's into custom categories, or add/remove URLs from existing categories. | B | M
I-WCF-27 | Configuration | Where a policy enforcement is applied, the user are redirected to a warning page or a captive portal. | B | M
I-WCF-28 | Authentication | Integration to Customer identity solution (Microsoft Active Directory is predominantly used) are supported to identify which group a device is in. Authentication are transparent to the user. | B | M
I-WCF-29 | Connectivity | Devices are able to connect to the Service via their private network and via the Internet. Private address space are supported, along with NAT. | B | M
I-WCF-30 | Connectivity | Explicit proxy mode are supported. | B | M
I-WCF-31 | Connectivity | Transparent mode should be supported for Private networks | O | D
I-WCF-32 | Configuration | Provide an option to uniquely identify a subset of services on the Internet by IP address. | O | D
I-WCF-33 | Connectivity | The solution must enable the proxy and traffic inspection of other internet bound traffic such as HTTP, HTTPs, and FTP. Non standard ports are supported. | B | M
I-WCF-34 | Connectivity | The solution must support streaming media. | B | M
I-WCF-35 | Security | SSL intercept must support categories to be excluded, such as banking and finance sites. | B | M
I-WCF-36 | Data retention | Per-user, per manager or per Microsoft Active Directory group reporting and holding of web access log information are provided for at least 2 years to meet current Australian Data Retention legislation for. | B | M
I-WCF-37 | Data retention | There should be capability for longer data retention periods of time, including compression of such data shall be able to be provided. | O | D
I-WCF-38 | Reporting | Report monthly or on-demand on all scanning, content blocking and user account administration. | B | M
I-WCF-39 | Security | Provide anti-ad/anti-malware content inspection including filtering for inappropriate images and file types for internet browsing. | B | M
I-WCF-40 | DLP | Provide support for Data Loss Prevention. | O | O
I-WCF-41 | Audit | Provide 6 monthly Audits. | O | D
I-WCF-42 | Policies | Maintain policies to ensure they are fit for purpose and meet best practices | B | M
I-WCF-43 | Policies | Maintain policy configuration documentation, including associated change request numbers. The documentation are made available to the Customer and the Contract Authority. | B | M
I-WCF-44 | Reporting | Provide a portal for access to near real time and historical reports, self service of high frequency changes, and access to documentation. | O | D
I-WCF-45 | Logging | Provide logging information data stream from the Product to support a Customer or Third Party SIEM. | B | M
I-WCF-46 | API | Provide an API for self service functions | O | D
I-WCF-47 | Security | Provide protection and mitigation against distributed denial of service attacks. | B | M
I-WCF-48 | Connectivity | Provide a Cloud Access Brokerage service | O | D
I-WCF-49 | Connectivity | Devices are able to connect to the Product via their private network and via the Internet. Private address space are supported, along with NAT. | B | M
I-WCF-50 | Configuration | The ability to support a decentralised deployment model, for example, equipment on site with the policies maintained centrally. | O | M
Email Protection
I-EP-1 | Availability | All services are able to offer the following availability SLAs: - IA-T1 ≥99.999% - IA-T2 ≥99.9% | B | M
I-EP-2 | Performance | Support for the following tiers of requests per second: - 10 - 100 - 1000 - 10000 - ≥10000 | B | M
I-EP-3 | Performance | Where performance SLAs are provided, the performance testing demarcations are between the Customer site Ethernet Demarcation and the Tenderer's boundary to the internet, typically Border Router interface with another Tenderer or Peering fabric. | B | M
I-EP-4 | Interconnect | Support for the following physical connectors: Copper - RJ45 - RJ12 Optical (SMF and MMF) - SC - LC | B | M
I-EP-5 | Interconnect | Support for the following Ethernet interface types: xBASE-T xBASE-SX xBASE-LX xBASE-LH xBASE-EX xBASE-ZX xBASE-EZX | B | M
I-EP-6 | Interconnect | Support for the following interface speeds: - 10Mbps - 100Mbps - 1000Mbps/1Gbps - 10Gbps - 100Gbps | B | M
I-EP-7 | Interconnect | Support for auto-negotiation or hard coded speed and duplex. | B | M
I-EP-8 | Interconnect | Provide a range of interconnection options - single interface - multiple (aggregated) - multiple (standby) | B | M
I-EP-9 | Performance | All services are measured and reported against the following metrics: - Availability - Bandwidth (bps and pps) - Latency - Jitter - Packet loss - Connections per second - Maximum concurrent connections - Transactions per second | B | M
I-EP-10 | L3 Protocols | Support for IPv4 (RFC 791) and IPv6 (RFC 2460), dual stack where necessary. | B | M
I-EP-11 | MTU | Support for jumbo frames with an MTU of 9000 | O | D
I-EP-12 | MTU | Support for frames with an MTU of 1500 | B | M
I-EP-13 | Service | Support for inbound and outbound mail relay.
I-EP-14 | Service | Provide a clean user email messaging service where all browsing has the following features: - anti-virus protection - anti-malware protection - attachment content inspection - filtering of file types - non-repudiation | B | M
I-EP-15 | Service | Groups should also be able to be applied using group information from a Customers identify solution. | O | D
I-EP-16 | Security | Provide filtering for inappropriate images without significantly impacting business operations i.e. with minimal delay introduction. | O | D
I-EP-17 | Security | Provider user self-service for managing SPAM, and user notification for any blocked or altered content, such as removing infected files. | B | M
I-EP-18 | Security | Provide the option to configure TLS preferred or TLS mandated for nominated third parties email transport and gateway services. | B | M
I-EP-19 | Security | Scanning for malicious content should be both signature and heuristic based. Multiple signature sources should be used. | O | D
I-EP-20 | Security | Provide email policy enforcement through sender and receiver address whitelisting and blacklisting, categorization and business rule application. | B | M
I-EP-21 | Integration | Integration to Customer identity solution (Microsoft Active Directory is predominantly used) are supported to identify user validation. | B | M
I-EP-22 | Reporting | Report monthly or on-demand on all scanning, content blocking and user account administration. | B | M
I-EP-23 | Reporting | Provide 6 monthly Audits. | B | M
I-EP-24 | Audit | Maintain policies to ensure they are fit for purpose and meet best practices | B | M
I-EP-25 | Audit | Maintain policy configuration documentation, including associated change request numbers. The documentation are made available to the Customer and the Contract Authority. | B | M
I-EP-26 | Reporting | Provide a portal for access to near real time and historical reports and access to documentation. | O | D
I-EP-27 | Portal | Provide a portal for self service, for administrative release of blocked emails | B | M
I-EP-28 | Logging | Provide logging information data stream from the Product to support a Customer or Third Party SIEM. | B | M
I-EP-29 | Integration | Provide an API for self service functions | O | D
I-EP-30 | Service | Per-user, per manager or per Microsoft Active Directory group reporting and holding of email access log information are provided for at least 2 years to meet current Australian Data Retention legislation | B | M
I-EP-31 | Data retention | There should be capability for longer data retention periods of time, including compression of such data shall be able to be provided. | O | D
I-EP-32 | Report | Report monthly or on-demand on all scanning, content blocking, email release and user account administration. | B | M
I-EP-33 | Security | Provide protection and mitigation against distributed denial of service attacks. | B | M
I-EP-34 | Security | Provide Email data classification and tagging, through a client installed on the device and through email message information (such as subject line) for devices that will not support a client. A default level of classification will be able to be set by the Customer | O | D
I-EP-35 | Security | Provide support for advanced email polices, that look at the content type, classification, recipient details (such as number of recipients), and other relevant information in order to hold or release email. | O | M
I-EP-36 | Security | Provide a hold and release function based on user, group, domain, i.e. to provide a user the ability to recall email for a configurable period prior to being sent outside of the organisation | O | M
INTERNET
REQUIREMENTS

## Priced In Table (hidden)
CONCAT | Base/Option | Priority | Compliance | Priced In | Input Table
BMC | B | M | C | Yes
BMP | B | M | P | Yes | C
BMN | B | M | N | No | P
BDC | B | D | C | [Yes / No] | N
BDP | B | D | P | [Yes / No]
BDN | B | D | N | No
OMC | O | M | C | [Yes / No]
OMP | O | M | P | [Yes / No]
OMN | O | M | N | No
ODC | O | D | C | [Yes / No]
ODP | O | D | P | [Yes / No]
ODN | O | D | N | No
OOC | O | O | C | [Yes / No]
OOP | O | O | P | [Yes / No]
OON | O | O | N | No